## 0 Info
0. Info
Info | Final Checklist
•Other Sheets accross the bottom
•This list, and the associated questions, are an educated guess. No hostages were taken. Therefore, NERC secrets remain with NERC. | Completed | Task
•The rule of 77: Passing requires a 77%. Be better than 77. |  | •Checked off each topic
•Some NERC questions are a waste of time, meaning lots of study to answer one practice question. And that question shows up on one out of ten exams. Take the L. Rule of 77. |  | •Completed practice exams under timed conditions
•This list attempts to put specific concepts under the NERC Content Outline topics. Rule of 77. See Appendix for further detail, including questions per topic. |  | •Can write and explain the ACE equation without looking
•The weird numbers at the end of each topic indicate specific book sections. Open This Book Isn’t Boring: How Electricity Gets to Your House, flip there, and get to studying! (- A designates an answer, not study material) |  | •Can walk through a full blackstart / island restoration sequence
•Test takers, like most modern individuals, only read billboards, menus, and YouTube video titles. Taking the NERC exam requires several hours of nothing but reading. Practice for this marathon by setting aside an hour to read. Do this multiple times per week. See my video! |  | •Given a one line diagram, understand where faults are and what actions to take
•Initial indicates initial understanding. Final Review indicates review as part of board prep. |  | •Know voltage and power flow impacts of placing or removing devices and power lines into and out of service operation
•Practiced for the reading marathon by setting aside time to read
•As test preparation, methodically reviewed each topic in the checklist

## 1 Bal
1. Resource and Demand Balancing
Interchange
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | How to create interchange (reservations) |  | 14.1.1, 14.1.2
|  |  | Create a Transmission Service Reservation(TSR) in OASIS | 14.2.1, 14.2.2
|  |  | Total Transfer Capability (TTC), ATC, calculations | 11.5.4
|  |  | Create a tag based on the TSR in E-Tag | 14.3.1, 14.3.2
|  | How to create interchange (tags) |  | N/A
|  |  | Each BA along the way must approve | 14.3.6
|  |  | Emergency Tags only source and sink | 14.3.6
|  |  | Approved Tag is computed in Net Scheduled Interchange | 14.4.6, 16.2.2
|  | Tag Ramp rates and how they affect schedules |  | Video
|  |  | Ramp in tags so generators have time to respond | A
|  |  | A little less - 100 MWs starting this hour and ending in two hours will reach full value after the start of the hour and go to full value until the end of the hour. So, in the first hour, the answer will be a little less than 100. Know the math, but don’t need to do the math. | A
|  | Curtail Confirmed Interchange |  | 15.7.5, 16.2.2
|  | Calculating net scheduled interchange with multiple transactions |  | Video
|  | Inadvertent interchange accounting and payback methods |  | last sentence in 14.4.7, video
Synchronized Operations
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Introduction to power system operations and interconnected operations |  | 13.4
|  | Synchronizing |  | all of 13.3, really Chapter 13
|  | Interconnection vs an island and how to tell if an island forms in an interconnection |  | 9.3 all
ACE and ACE Monitoring
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | ACE’s purpose: Load-interchange-generation balance |  | 6.2.1, 14.4.1, 16.2.1
|  |  | Reportable ACE for CRSG vs BA ACE | Video
|  | Write the full ACE equation from memory |  | 14.4.5
|  | Explain every term |  | 14.4.6, 14.4.7
|  |  | Frequency | 14.4.7
|  |  | Know Frequency Bias and its purpose (the tricky one), calculate Bias and response based on bias | 14.4.7
|  |  | Know that Frequency Bias (B) is always a negative number | A
|  | Calculate ACE when given values for interchange, bias, and frequency |  | 14.4.5
|  |  | They’re going to get you with the double negative or saying NSI is 500 import, which means -500 and you’ll put in 500 | A
|  | Interpret ACE and explain |  | 6.5.5 and 6.5.6 and 9.3 all explain F as a measure for gen load balance, 14.4.6 explains tie error as a reflection of footprint balance, 14.4.7 has an example of external trip
|  |  | Negative tie error and a positive F and positive ACE | Video
|  |  | Positive tie error and negative F and negative ACE | Video
|  |  | Internal vs external trip | Video
|  | CPS1 – what it measures and the 100% requirement over 12 months |  | Video
|  | BAAL – how the limit becomes more restrictive as frequency moves away from 60 Hz |  | Video
AGC
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Reserves - Spinning / Non-Spinning / Contingency / Regulating / Operating |  | 15.2.2
|  | Automatic Generation Control (AGC) operation and modes |  | 14.4.8
|  |  | AGC dispatches regulating reserve based on ACE | 14.4.2
Generators and Equipment
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Magnetism |  | 3.6.1-4, 6.3.1-4 (that reciprocal was on accident!)
|  | Three Phases |  | 6.4.5, 6.4.6
|  | Frequency |  | 6.5.6, 7.3.11 9.3 all
|  | Governor |  | 9.4 all sections, 13.2 all
|  |  | Droop setting and calculation | 13.2.7
|  |  | Governor dead band | 13.2.6
|  | AVR |  | 9.2 all
|  | Operational limits |  | 8.2.8, 9.5 all
|  |  | Minimum/maximum | 8.2.8, 9.5 all
|  |  | Capability curve (D curve) | 8.2.8, 9.5 all
|  |  | Read the D curve to find limits based on conditions | 8.2.8, 9.5 all
|  | Power plant and fuel characteristics (thermal, hydro, wind, solar, storage, IBRs – characteristics and limitations) |  | 7.4.8, 8.2.8
Other Balancing Topics
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Time Error Correction (TEC) |  | Video
|  | Load forecasts, typical load forecasts, load forecasting ting errors and their effect on ACE, weather impacts on load forecast |  | Video

## 2 Trans
2. Transmission
Electrical Fundamentals
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Elements of Electricity |  | N/A
|  |  | AC | 4.4 all
|  |  | DC | 4.2.1, 4.2.2
|  |  | Circuits | 3.2 all, 3.3 all, 3.5 all
|  |  | Current | 2.4.1, 2.4.2
|  |  | Voltage | 3.4 all
|  |  | Capacitance - series and parallel | 4.5.6, 4.5.7, 4.5.8
|  |  | Inductance | 4.5.2, 4.5.3, 4.5.4, 4.5.5
|  |  | Reactance - adding inductance and capacetence | 4.6.1, 4.6.2, 4.6.3, 4.6.4
|  |  | Impedance | 4.6.5
|  |  | Power (Real) | 5.1.1, 5.2.2, 5.3.1, 5.3.2, 5.3.3, 5.3.4, 5.3.5
|  |  | Power (Reactive) | 5.2.1, 5.3.6
|  | Knowledge for Analysis |  | N/A
|  |  | Ohm’s Law | 4.3.2-5
|  |  | Kirchoff's Laws | 4.7.1, 4.7.2, 4.7.3
|  |  | Per unit values | Video
|  |  | Power Triangle | 5.2.3
|  |  | Power factor | 5.2.4
|  |  | Opens | 3.2.3
|  |  | Shorts | 3.2.3.1
Transmission Equipment
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Substations |  | 12.1.3, 12.2.1, construction 12.2.6
|  | Breakers |  | 12.2.3, 12.2.4, 12.2.5
|  | Switches |  | 12.2.3
|  | Transmission lines |  | 11.2.7, 11.3.1
|  | Transformers |  | Chapter 10 all (seriously. Over the years all these topics have been NERC test questions)
Power Flow Analysis and Switching
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Power flow |  | 11.4.1
|  |  | MW | 11.4.2
|  |  | MVAR | 11.4.2
|  |  | Power flows down hill | 11.4.6
|  | Gen Shift Factor and Distr Factor |  | 11.5.3
|  | Phase-shifting transformers / PARs |  | Video
|  | Effect of opening a line on power flow | OTDF, Distribution Factor, other lines more heavily loaded (SIL) | Video
|  | Make before break to prevent dumping load |  | Video
|  | Redispatch generation to reduce line flows and maintain generation/load balance |  | 15.7.4, 16.5.8, 16.5.9
Relay Behavior and Protection Coordination Basics
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Relay Numbering |  | 12.4.1
|  | Relay Communication schemes - POTT |  | 12.4.4
|  | Distance Relays |  | 12.4.3
|  | Overcurrent |  | 12.4.5
|  | Differential |  | 12.4.2
|  | UFLS |  | 12.4.7
|  | Undervoltage |  | 12.4.8
|  | Transmission/Generation/Bus/Line Protection schemes |  | Video
|  | Special Protection Systems / Remedial Action Schemes (SPS/RAS) – purpose and monitoring |  | Video
Voltage and Reactive Power Control
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Capacitor Banks |  | 11.3.5, 12.2.2
|  | Series Capacitors |  | Video
|  | Reactor Banks |  | 11.3.5, 12.2.2
|  | SVCs |  | 12.2.2
|  | Synchronous Condensers |  | Video
|  | Generators - AVR |  | 9.2 all
|  | Voltage Schedules |  | Video
|  | Voltage Limits |  | 15.5.5
|  | Surge Impedance Load (SIL) |  | 11.4.3, 11.4.4
|  | Effect of opening a line on voltage - reconfiguration for voltage |  | 15.6.3
|  | Voltage control: how voltage responds to load increase/decrease |  | SIL in use 15.5.6
|  | Ferranti Effect |  | 11.4.5

## 3 Em Prep
3. Emergency Preparedness
Emergency Preparedness
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Anticipated Capacity Deficiency planning and actions |  | Video
|  |  | Conservative Operations - restore outages, cancel outages | Video
|  |  | Declare EEA if predicted generation can’t cover load and reserves | Video
|  |  | Public appeals and load management measures | Video
|  | Impacts of and preparing for severe weather / natural disaster |  | Video
|  | Same-Day and Next-Day operational planning |  | 16.4.3, 16.5.1, 16.5.2, 16.5.3, 16.5.6, 16.5.7, 16.5.10
|  | Geomagnetic Disturbance (GMD) operating procedures and indicators |  | Video
|  |  | K7 and above (NOAA G3) | Video
|  |  | Saturates transformers | Video

## 4 Em Resp
4. Emergency Response
Islanding
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | How to tell if there is an island | Islands have a different frequency and must be synchronized to the big system, or, in the case of blackout, each island will eventually synch to create the BES | A
Loss of a Generator
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Contingency Reserve Deployment (CRD) |  | 15.2.2
|  | DCS (BAL-002) – 15-minute recovery requirement after a Reportable Balancing Contingency Event (RBCE) |  | 15.2.2, 15.2.3
|  | 90 Minutes to recover reserves after CRD |  | 15.4.5
|  | Torque Angle/Power Angle |  | 6.5.1, 6.5.2, 6.5.3, 6.5.4, 15.3.2, 15.3.3
Example in 15.4
Low Frequency
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Lack of generation |  | A
|  | UFLS |  | 15.4.6
Low Voltage
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Lack of voltage resources |  | A
|  | Lack of generation causes generator to decrease reactive loading output |  | 9.5.1, 9.5.2, 9.5.3
|  | Low voltage inputs limit capacitor bank output exponentially (squared) |  | A
Loss of Control Center
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Go to backup within 2 hours |  | A
|  |  | Must test backup control center for at least two hours yearly | A
Loss of Tools
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Loss of EMS / State Estimator / Contingency Analysis tools – what to do |  | Video
|  | Loss of ICCP |  | Video
Capacity Emergency
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Declare Energy Emergency Alert (EEA) levels 1, 2, or 3 as appropriate |  | Video
|  | Load Reduction Methods |  | Video
|  |  | Lower Frequency | Video
|  |  | Lower Voltage | Video
|  |  | Public Appeals | Video
|  |  | Demand management | Video
|  | Emergency Purchase of Energy |  | Video
|  | Shed Load |  | Video
System Restoration / Blackstart
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | System restoration plan development |  | 15.5 all, 15.6 all
|  |  | Philosophies | 15.5.1
|  |  | Open all breakers or open necessary breakers substation by substation | 15.5.4
|  |  | Priority loads (critical loads, nuclear plants, etc.) | 15.5.3
|  |  | Define preferred paths | 15.5.3
|  |  | Yearly review | A
|  | Blackstart resource requirements and testing |  | 15.5.2
|  | Start blackstart unit |  | A
|  | Pick up load |  | 15.6.2
|  |  | Cold load pickup | 15.5.6
|  |  | Load decay | 15.5.6
|  | Build out Cranking paths |  | 15.6.3
|  |  | Build to synch points and non-blackstart resources (require energy for startup) | A
|  | Frequency management during islanded restoration |  | 15.6.4, 15.6.5
|  | Voltage control during restoration |  | N/A
|  |  | Fighting high voltage due to lightly loaded lines (SIL) and Ferranti Rise | A
|  |  | Adding load lowers voltage (SIL) | A
|  |  | Adding line raises voltage (SIL) | 15.5.5
|  | Synchronizing islands – voltage, frequency, and phase angle matching |  | 15.6.6
|  |  | Smaller island changes | A

## 5 Con An
5. Contingency Analysis & Reliability
Contingency/Network Tools and Analysis
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Interpret contingency analysis (RTCA) results (what is a valid vs invalid contingency) |  | 15.7.3
|  | State Estimator – purpose and what happens when it is unavailable or not converging |  | 4.7.4
|  | EMS - is the SCADA computer program |  | A
|  | BES evaluation to determine current and possible issues |  | 16.3.1, 16.3.2
|  | Faults - given these conditions or one line diagram find the fault or solution |  | Video
Loss of Transmission Equipment
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Overloads |  | 15.7.3
|  |  | Currently happening | 15.7.3
|  |  | Occur after line trips and causes power flow change | 15.7.3
|  | Solutions |  | 15.7.4
|  |  | Reconfigure | 15.7.6
|  |  | Redispatch | 16.5.8
|  |  | Start generation | 16.5.9
|  |  | TLR | 15.7.5
|  |  | Shed Load | 15.7.6
SOLs and IROLs
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Formulating operational plans for reliability evaluation, define SOL and IROL |  | N/A
|  |  | SOL vs IROL | 11.5.1, 11.5.2
|  |  | OTDF and N-1 concepts | 15.2.1 used in the 15.7.3 perspective
|  |  | RC develops IROL criteria | 15.7.2
|  |  | Most conservative | A
|  |  | A plane has different materials. One limits speed to 700 mph, another to 600, and another to 500. That plane is only going to fly below 500. | A
|  |  | How long to restore | 11.5.2
|  | What happens if an IROL is exceeded longer than its T_v (Tv) |  | Video

## 6 Comm
6. Communications & Data
Comms and Data
Initial | Final Review | Topic | Additional Information | This Book Isn't Boring Location
|  | Three-part communication – exact process and why it is required |  | 15.8.4
|  | Event Reporting |  | Video
|  | RCIS (Reliability Coordinator Information System) usage |  | Video
|  | Reporting requirements to RC, neighboring BAs/TOPs, and NERC |  | Video
|  | Data validity and verification (what to do with bad telemetry) |  | Video
|  | Telemetry and Communications Equipment |  | Video
|  |  | ICCP | 12.3.1, 12.3.2
|  |  | SCADA | 12.3.3, 12.3.4
|  |  | RTU | 12.3.2
|  | Loss of telemetry or communications equipment actions |  | N/A
|  |  | Switch to backup | A
|  |  | Impacts to AGC and RTCA | A
|  | Standards of conduct | Only in so far as RC isn’t going to call a marketer and operations never cares about finances - ENRON | A
|  | Operating Instructions | Ordering action on the BES | A

## 7 StanTop
7. Standards and Topics
Important Standards
Initial | Final Review | Standard
BAL-001 (CPS1 & BAAL)
BAL-002 (DCS – RBCE, RBCE restoration, MSSC) - unit trip
BAL-003 (Frequency Response & Frequency Bias)
BAL-005 (ACE data requirements e.g., scan at least every six seconds)
COM - 002 (Operating Instructions and 3-part communications)
EOP-004 (Event Reporting)
EOP-005 (Blackstart plans and restoration)
EOP-011 (Emergency Operations - plans, UFLS, communications)
-IRO-008 (SOL and IROL)/ IRO-009 (IROL)
TOP-001 (Transmission Operations - Operating Instructions, duty to operate reliably, SOL/IROL, data exchange)
VAR - 001 (Duty to maintain voltage, voltage schedules)
DOE and NERC reporting - attacks, load shed, cyber threats, etc
NERC FERC and NAESB standards - know the difference
Important Topics
Initial | Final Review | Topic
ACE calculation problems with numbers
Given ACE variables, analyze the situation
Operate the BA area to maintain load-interchange-generation balance
Monitor and report control performance (CPS 1) and disturbance recovery (RBCE)
Adjust flow or change in flow analysis
SOL/IROL exceedance timelines and actions
Monitor protective systems, relaying, and RAS/SPS
Voltage/reactive response
Three-part communication examples
EEA declaration criteria
Blackstart Restoration
Develop and implement emergency procedures (including load shedding)
Loss of tools / loss of control center responses
“What should the operator do next?” scenario questions (call RC? take action?)

## 8 Res
8. Resources
Resources
Resource
•This Book Isn’t Boring: How Electricity Gets to Your House (My book, the best ever)
•Electric Power System Reliability. Smith. (I’ve known several people who recommended this book)
•EPRI Power System Dynamics Tutorial (Free online)
•ERCOT Certification Manual (Free online. Have read through this and thought it was good)
•Official NERC Content - Outline, Glossary, Standards
•AI can make practice NERC exams already. Output is decent but varies. I’m making a list of NERC-ish questions as examples but also as an AI input to create infinite exams.
•Ask around, lol. I don’t know everything.

## 9 Appendix Test Info
9. Appendix - Test Info
•In concordance with an operator mentality, this was copied in brevity from the NERC website’s certification documentation. It’s a good rule of thumb.
•For a deeper analysis, NERC has a further, yet vague, breakdown.
•My question document will attempt to match questions with NERC’s more detailed subtopics. Rule of 77.
Exam Data
•Exam Time: 3 hrs = 180 minutes
Examination Title | Designation | Total Questions | Scored Questions | Cut Score
Reliability Coordinator | RC | 140 | 120 | 92
Balancing, Interchange, and Transmission Operator | BT | 140 | 120 | 92
Transmission Operator | TO | 120 | 100 | 76
Balancing and Interchange Operator | BI | 120 | 100 | 76
RC Exam Question Makeup |  |  | BT Exam Question Makeup
Topic | Questions from the Topic |  | Topic | Questions from the Topic
Resource and Demand Balancing | 26 |  | Resource and Demand Balancing | 31
Transmission | 27 |  | Transmission | 28
Emergency Preparedness | 12 |  | Emergency Preparedness | 12
Emergency Response | 18 |  | Emergency Response | 17
Contingency Analysis and Reliability | 25 |  | Contingency Analysis and Reliability | 20
Communications and Data | 12 |  | Communications and Data | 12
Total | 120 |  | Total | 120
TO Exam Question Makeup |  |  | BI Exam Question Makeup
Topic | Questions from the Topic |  | Topic | Questions from the Topic
Resource and Demand Balancing | 13 |  | Resource and Demand Balancing | 36
Transmission | 29 |  | Transmission | 12
Emergency Preparedness | 10 |  | Emergency Preparedness | 12
Emergency Response | 16 |  | Emergency Response | 16
Contingency Analysis and Reliability | 20 |  | Contingency Analysis and Reliability | 12
Communications and Data | 12 |  | Communications and Data | 12
Total | 100 |  | Total | 100